COEP Technological University

(COEP Tech)

A Unitary Public University of Government of Maharashtra

(Formerly College of Engineering Pune)

Wellesley Road, Shivajinagar, Pune-411005, Maharashtra, India

Invitation of Quotations

for

Electrification work for H – Block , Hostel Campus, COEP Tech.University, Pune. Shivaji Nagar, Wellesly Road, Pune, Maharashtra 411005.

Ref:  COEP TECH/EWC/Electrification Work /2025-26/

Date:  18/03/2026

Website: https://www.coeptech.ac.in

Telephone Number: -  020 – 2550 - 7425

Contact Person   1. Dr. A. R. Phadke  - 8888108570

2. S. K. Salve -             9960831414

COEP Technological University

(COEP Tech)

A Unitary Public University of Government of Maharashtra

(Formerly College of Engineering Pune)

Wellesley Road, Shivajinagar, Pune-411005, Maharashtra, India

…………………………………………………………………………………………………….

Ref: COEP TECH/ EWC/ Electrification  Work./2025_26/                 Dated: 18/03/2026

INVITATION OF QUOTATION

Name of Work: Electrification work for H – Block , Hostel Campus, COEP Tech.University, Pune. Shivaji Nagar, Wellesly Road, Pune, Maharashtra 411005.

Dear Sir,

You are invited to submit your most competitive quotation for above work. The details are as below.

| Sr. No | Description | Unit | Quantity | Rate | Amount in Rs |
| --- | --- | --- | --- | --- | --- |
| 1. | Supplying, erecting & terminating FR XLPE insulated, galvanised steel formed wire armoured (strip) cable, 1100 V 3½ core 185 sq. mm. aluminium conductor complete erected with glands & lugs on wall/ trusses/pole or laid in provided trench/ pipe as per specification no. CB-LT/AL | Mtr. | 315 |  |  |
| 2. | Providing & erecting floor/wall mounting, MCCB panel board, withdoor, suitable for 4 pole incoming 250A, 4 ways 4 pole outgoing, upto 100A MCCBs on iron frame, as per specification no SW-MCCBPB. (Excluding MCCBs) | Nos. | 1 |  |  |
| 3. | Supplying and erecting terminal spreaders suitable for 4 pole, upto 250A MCCB (Set of 8) | Nos. | 1 |  |  |
| 4. | Providing & erecting 3 Pole MCCB 415V, 250A, rated short-circuit breaking capacity 36 kA (Ics=100% of Icu) adjustable thermal (overload) setting and adjustable magnetic setting with provided leads, provision for installation of shunt/UV/trip alarm contact.MCCB should have phase barriers both sides, with insulation withstand capacity 800V, no line-load bias in provided enclosure/panel as per specification no. SW-MCCB NOTE 1)For use of 4 pole MCCBs in place of 3 pole MCCBs add 20% in rate of 3 pole MCCB. | Nos. | 2 |  |  |
| 5. | Supplying & laying (including excavation) half round reinforced cement concrete pipe of NP-2 class of 150 mm diameter inproper line, level and slope including providing and fixing collars in cement mortar 1:2 and curing etc.complete. | Mtr. | 250 |  |  |
| 6. | Supplying, installing and testing pipe type earthing with 40mm. dia. G.l. pipe or 20 mm dia. G.I. Rod complete with all accessories of GI materials & recording the results as per specification no. EA-EP | Nos. | 2 |  |  |
|  | Basic Amount ( Rs ) |  |  |  |  |
|  | Add for GST @18% ( Rs ) |  |  |  |  |
|  | Gross total amount in ( Rs ) |  |  |  |  |

Terms and Conditions:

- The bidder should attach the required document with the tender.

- The bidder should submit GST registration document along with tender.

- Special Conditions for the work:

- COEP Technological University, Pune is not liable for any breach of any Government rules/regulations by Bidder/agency/firm or its employees. The Bidder/agency/firm will be solely responsible for their action.

- If during work within the premises of COEP Technological University, Pune any mishap/accident occurs causing injuries to the employees or representatives of Bidder/agency/firm, necessary compensation as required by the statute will be borne by Bidder/agency/firm itself, and COEP Technological University, Pune is not responsible against all claims on such accounts.

- All the staff deployed by Bidder/agency/firm will ensure that they are polite and courteous in their behavior. They shall carry their photo identity card prominently displayed during the repairing hours.

- The bidder / agency / firm should be prepared to come to COEP Technological University, Pune to take part in the discussion, if required in this regard.

- All work shall be carried out with due regard to the convenience of COEP Technological University, Pune. The orders of the concerned authority shall be strictly observed.

- The taxes, insurance, freight, packing and forwarding charges if any must be quoted in Indian Rupees separately.

- The rates shall be valid for  90 days.

- Quotation(s) received after the last date of Quotation submission will be rejected.

- All following documents/certificates should be provided / attached.

a) Shop Act License/Incorporation Certificate/Firm Registration Certificate Copy.

b) PAN Card Copy     c) GST Certificate Copy

d) Work experience certificate min. 3 years similar.

- All duties, taxes, and other levies payable by the bidder need to be included in the total price and break up needs to be indicated.

- The bidder shall have to quote for all the items of the quotations. Part quotations/incomplete quotations shall be summarily rejected without any consideration.

- The quotations shall be signed by an authorized person and the bidder’s full name and      status be indicated below the signature along with an official stamp of the vendor/firm/company.

- Offers in the bid should be written in English and price should be written in both figures and words.

- The supply/work should be completed within 2 weeks from the date of Work order.

- No extension shall be given for supply/work/service. In such a case a penalty for delay in proportion to the cost of equipment/work/service. at the rate of 0.5 % per week; maximum limit of 10% shall be charged in case of   PO value is less than 2 Lakh.

  - In case of delay more than 3 weeks, beyond the stipulated complication of work date, order shall be deemed cancelled.

  - Bidder shall be responsible for successful Installation, Commissioning and testing of the supplied devices at defined locations

- The 100% bill for the above work will be paid immediately after successful commissioning and testing of the work. No advance payment will be given.

- The COEP Technological University reserves the right to cancel any of the items of the tender without any reason thereof.

- The quotations should be downloaded from the COEP Technological University website https://www.coeptech.ac.in/ tenders and submitted in the format given above to Electrical Engineering Department, COEP Technological University Pune during working days.

- The quotation should be duly signed and addressed to The Vice Chancellor, COEP Technological University, Pune-5 and submitted in sealed envelope.

- Quotations will not be received by E-mail / FAX.

- The various time limits are as follows.

| Activity | Date | Time |
| --- | --- | --- |
| Start of submission of quotation | 18/03/2026 | 11.00 am |
| Last date of submission of quotation | 23/03/2026 | 04.00 pm |
| Opening of Quotations | 23/03/2026 | 05.00 pm |

Sd/-

Registrar

COEP Technological University, Pune.